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FOR


“PROCUREMENT OF 400KWA ON GRID 400KW SOLAR SYSTEM FOR PAK RED CRESCENT MEDICAL COLLEGE AND TEACHING HOSPITAL”
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FOR 
PAK RED CRESCENT MEDICAL COLLEGE AND TEACHING HOSPITAL
DINA NATH

2026

[bookmark: _Toc369266760]


[bookmark: _Hlk233991802]SECTION-I: INVITATION TO BIDS
[bookmark: _bookmark1][bookmark: _Hlk149648030]
SUBJECT: “PROCUREMENT OF 400KWA ON GRID 400KW SOLAR SYSTEM FOR PAK RED CRESCENT MEDICAL COLLEGE AND TEACHING HOSPITAL”


Pak Red Crescent Medical College and Teaching Hospital (PRCMDC), Lahore invites sealed bids under Single Stage–Two Envelope procedure for the following packages:
	Package 1
	Procurement of Solar Panels (400 KW) on FOR Basis
	Estimated price: Rs:15 Million PKR Bid security: 2% of above estimated price

	Package 2
	Procurement of On-Grid Inverters (400kW) on FOR Basis
	Estimated price: Rs:3.60 Million PKR Bid security: 2% of above estimated price

	Package 3
	EPC of Structure and BOS for system
	Estimated price: Rs:11.30 Million PKR Bid security: 2% of above estimated price


Eligibility:  Bids for complete Scope of work are invited from Manufacturers, Authorized/Sole Distributors, Contractors, or suppliers for the above mentioned project. Bidders may apply for one or more packages but must submit separate bids and mention the package number on the covering letter, financial bid form and outer envelope for which bid is submitted. 
Bid Security: 2% of estimated price (package-wise) in the form of CDR in favor of Medical Superintendent Pak Red Crescent Teaching Hospital. Pre bid meeting will be held on 14 July 2026 at 11.00 P.M at PRCMCTH. 
	
Submission/Opening:
· Deadline: 20 July 2026, 11:30 AM
· Technical bids opening: 20 July 2026, 12:00 PM
· Venue: PRCMDC/Teaching Hospital, 48 KM Multan Road, Dina Nath, Lahore.
Bidding documents may be obtained from the office of the undersigned on payment of non-refundable tender fee of Rs. 5000/-. The Procuring Entity reserves the right to reject any or all bids without assigning any reason.
Medical Superintendent
Pak Red Crescent Teaching Hospital
48 KM Multan Road, Lahore | Tel: 049-4540286





SECTION-II. TECHNICAL SPECIFICATIONS OF EQUIPMENT

PACKAGE 1: SOLAR PV MODULES/PANELS
	No.
	ITEM(s)
	Description
	QTY

	
1
	
PV Module
	Minimum 585Wp JA/ Huasun/ Jinko/Trina/ Phono/ Canadian or equivalent, half cut, Wafer Type: N- type and HJT/Topcon Technology, Tier 1 PV Modules/Panels Mono Crystalline A Grade VDE, TUV CE Certified, ISO 9001 PID free
	
400 KW


[bookmark: _bookmark54]
PACKAGE 2: ON-GRID SOLAR SMART INVERTER
	No.
	ITEM(s)
	Description
	QTY

	

1
	

String Inverter
	Inverter: Huawei/Solis/Growatt/FOX/ or equivalent On-Grid Growatt/ Sungrow /Goodwee or equivalent (Net metering enabled) Inverter with built in MPPT Charge Controller and Remote Monitoring through Android/IOS App with Data Logger
	
As per design (400kW)



PACKAGE 3: MOUNTING STRUCTURE/BOS
	No.
	ITEM(s)
	Description
	QTY

	1
	Mounting Structure
	Mounting Structure and BOS on EPC basis for 400kW On Grid System HOT DIPGI
	As per design (400kW)



DELIVERY SCHEDULE
	S#
	Location
	Item
	Delivery Period 

	1
	Pak Red Crescent Medical College and Teaching Hospital, Dina Nath 
	Package1:
Procurement of Solar Panels (400 KW) on FOR Basis
	45 Days from the Award of Contract

	2
	
	Package 2: Procurement of On-Grid Smart Inverters on FOR Basis
	45 Days from the Award of Contract

	3
	
	Package 3: EPC of Mounting Structure and BOS
	45 Days from the Award of Contract



Note: The above equipment/goods shall be supplied at the location identified by the PRCMC /TH complete in all respects with all warranty and compulsory documents / invoices. The EPC of mounting structure and BOS includes Engineering, Procurement and Installation.

Minimum Technical Specifications for Packages 1 & 2

Note: The technical specifications of the solar panels and allied equipment must fulfill the standard requirements (PSS & IEC) as per the import policy S.R.O 604(I)/2019, Dated 28th May, 2019. Verifiable Test certifications for the required standards must be [provided with the technical proposals. In case of the discrepancy, the mentioned S. R. O shall prevail.
The following are provided the minimum technical requirements for solar panels and allied equipment. “All products shall be compliant to relevant IEC standards/specifications; however, other equivalent international standards may be used where, IEC relevant standard is not available, as per the project requirement.
This document provides minimum technical requirements for solar panels and allied equipment. “All products should be compliant to relevant IEC standards/ specifications; however, other equipment, international standards may be used where, IEC relevant standard is not available, as per the project requirement, with subject to prior approval of the Medical Superintendent PRCMCTH .

Package-I (Solar PV Modules/Panels)

	Parameters
	Min. Specifications required

	Module Make
	Tier 1, Brand should be verifiable for the procurement year

	PV Module Capacity
	585 Watts or above (as per design)

	PV Module Type
	Type: N-Type (HJT/TopCon)

	Cell Quality
	A Grade (verifiable)

	Module Efficiency
	22% or higher

	Power Tolerance
	Must be + 3% or more

	Operating cell Temperature
	minus 40C to positive 85C

	Temperature coefficient
	minus 40 %/ C or less 

	bypass diode
	AS per design

	Bus bar
	9 or higher

	Certification
	IEC 61215, IEC 61730, IEC 61439, IEC 60947-3 as amended to date, PID FREE

	Frame 
	Must withstand 5400 PA impulse Load

	Junction box
	IP 67 or better

	Cable
	6mm2 (IEC)  or higher (As per design)

	Connectors
	MC4 or comparable weather proof

	Front cover
	3.2 thick prism type tempered glass or higher

	Product Warranty and Guarantee
	10 years product replacement warranty power output within 10 years shall not fall below 90%Power output within 25 years shall not fall below 80%

	
	12 years full replacement of module, if the major components malfunctioning PV module performance guarantee 25 years or more Type of performance guarantee shall be final after 1st year





Package-2 (On-Grid Solar Smart Inverter)

	Parameters
	Min. Specifications required

	Inverter Manufacturer
	50 MW or above deployment in last years. Renowned and verifiable brand having successful history in similar climatic conditions.

	Inverter Type
	String Inverter

	Pakistan Local case reference
	 10 Cases of 01 MW Solar Projects

	Inverter Type
	String Inverter

	Max. Efficiency /European Efficiency
	> 98.4% or above

	Min. Output Power
	115KW @ 25℃

	Max. Input Voltage
	1,100V

	MPPT input current
	30A

	MPPT Operating Voltage Range
	200V ~ 1000V

	Output Voltage Range
	400 Vac/ 480 Vac, 3W+(N) + PE

	Max. Total Harmonic Distortion
	<3%. As per relevant IEC clauses.

	Power Factor
	0.8	leading ~ 0.8	lagging

	IP Protection
	IP 66 or Better 

	Standby power consumption
	Max 3.5W 

	Smart IV Diagnosis
	Level 4, Globally applicable 

	Protections
	1. Smart String-Level Disconnector (SSLD)
2. Input-side Disconnection Device
3. Anti-islanding Protection
4. AC Overcurrent Protection
5. DC Reverse-polarity Protection
6. PV-array String Fault Monitoring
7. DC Insulation Resistance Detection
8. Residual Current Monitoring Unit
9. DC Surge Arrester
10. AC Surge Arrester

	Operating temperature
	-250C to 60oC

	Communication
	With Remote Monitoring Feature, Mobile App, Web server user interface, Cloud Connected.
Real Time System Monitoring. Alerts, Faults and Warning data display. System Statistics – System Parameters,
PV predicted values, forecasted values, Load data, Energy
Support W-LAN/4G/RS485 communication

	Minimum Applicable Standards and Compliances
	IEC62109-1/-2, IEC62116, IEC60068, IEC61683, IEC 61727

	Additional Feature 
	IV curve tester should be built in, with no external system. Built-In Advanced Fault Detection. Smart String Level Detection should be available on board 

	Warranty
	5 Years Standard replacement warranty;
And support 20 Years extension warranty
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[bookmark: _Toc172551595][bookmark: _Toc100141970][bookmark: _Toc100229802]Package 3: PV Mounting Structure
	S/N
	Parameters
	Min. Specifications required

	Tentative outlines, the design will be site-dependent and may vary

	1
	Structure material 
	Hot dip MS / Aluminum or material as per approve drrawings 

	2
	Wind loading
	The mounting system should be able to allow air circulation for cooling in high temperatures and withstand wind speed of 140 Km/hour at 3-sec gust

	3
	Material surface protection
	The mounting structure should be Galvanized, not less than 90 microns (in the case of Hot-dip ASTM compliant).
Ground Slope should be adequately maintained to allow access to water drainage

	4
	Civil work
	Ground Slope should be adequately maintained to allow access to water drainage
Civil design should comply with ACI code /IBC codes
All civil work must be included
SAP analysis report of structure should be submitted at the time of execution.
In the case of Ground, the Slope should be adequately maintained to allow access to water drainage.
Structure Drawing is attached in Annexure

	5
	Requirements at time of execution  
	Suitable gauge for MS (Hot dip) (min 14 for c channel) or Aluminum (min 2.5 mm for L2/L3) should be provided.
Detail drawing of each structure that should withstand 140 KM/H wind gust for min. 3 sec. supported by SAP report, supported by certified structure engineer.
Only concept drawing will be accepted at tender stage.
Applicable strength tests of metal and civil will be performed at the time of execution that includes but not limited to concrete tests, steel tests, bolts and welding joints test at the expense of contractor.
Compliance of MBMA 2006 or equaling



[bookmark: _Toc172551596]Wiring Cables (DC&AC Cables)
1. Cables to be used in wiring for the solar system and its allied components shall meet IEC/BS or equivalent internationally recognized standards. Will be tested on bidder’s expense. 
2. Applicable 4-core PVC/PVC or XLPE cables for inverter connections, non-armored, if building to building link is required by contractor’s proposed execution plan, standard ground cabling techniques should be followed as per site.
3. Stranded and flexible, double insulated copper wires [over 99% copper] with proper color code shall be used.
4. XLPE/EVA or XLPE/PVC should be used in DC wiring with minimum 6mm (or higher than 18 A or point 7) for single string.
5. Cables shall be clearly labeled with essential electrical parameters including manufacturer name, standard of conformity etc.
6. All technical/electrical parameters of cables including important cables tests with in the acceptable results [Insulation test, resistance test etc.] shall have to be provided with cables.
7. All wiring shall be aesthetically neat and clean, over-all wiring/connection losses shall not exceed 1.5 %of the total rated output power or inverter supported datasheet.
8. All connections/socket outlets among array, controller, inverters, etc. must be made in junction boxes of adequate protection level and suitable u-shaped or o shaped thimbles.
9. All wires/cables should be in standard flexible UV-resistant conduits for outdoor installation and HDPE pipes for underground wiring and PVC ducts for indoor installation and GI ducts for external.
10. All underground and cross road wiring must be done with appropriate standards. 
11. All junction boxes and electrical DBs must be IP 54 in case of indoor, and IP65 in case of outdoor placement.
12. All wiring diagrams must be provided readily availed at appropriate location.


SECTION-III: BID DATA SHEET (BDS)

The following specific data for the goods and services to be procured shall complement, supplement, or amend the provisions in the Instructions to Bidders (ITB) Part One. Whenever there is a conflict, the provisions herein shall prevail over those in ITB.

	Introduction

	ITB 1.1
a) Name of Procuring Agency: Pak Red Crescent Medical College and Teaching Hospital, 48 Km Multan Road, Dina Nath, Lahore
b) Name of Project: Solarization of the __________________
c) Name of Contract: PROCUREMENT OF SOLAR PV MODULES AND INVERTERS (PACKAGE 1, 2) ON FOR BASIS AND STRUCTURE/BOS (PACKAGE 3) ON EPC BASIS, FOR PAK RED CRESCENT MEDICAL COLLEGE AND TEACHING HOSPITAL
d) Financial year for the operations of the Procuring Agency: 2026
e) Name of financing institution: PRCMDC

	f) ITB 4.1 Name of Purchaser: PAK RED CRESCENT MEDICAL COLLEGE AND TEACHING HOSPITAL

	ITB 6.1 For clarification purposes, the Employer’s address is: ___________________________________ Requests for clarification shall be received by the employer no later than ___________2026, 
Pre-bid meeting: if required.

	ITB 8.1 Language of the Bid: English



	Bid Price, Currency & Payments

	ITB 11.2 
· The Bidder shall indicate on the appropriate Price Schedule the unit prices (applicable) and total bid price of the goods, equipment, instrument it proposes to supply and services under the contract along with a price for extended warranty per year, if any.
· All prices should be in PAK rupees indicating both exclusive and inclusive of all Taxes. GST and /or other Tax amount where applicable, should be mentioned in separate column(s) and the total given in a separate column. Prices indicated on the Price Schedule shall be item wise/ package wise.
· Prices indicated on the invoice schedule shall be on FOR basis up to PRCMDC, Lahore risk coverage included for package 1&2. The transportation up till delivery on site premises will be arranged and paid by Supplier/bidder. Whereas for package 3 all EPC services including design, procurement and installation services shall be included in price schedule.
· The Bidder’s separation of price components in accordance with BOS/forms will be solely for the purpose of facilitating the comparison of bids by the Purchaser and will not in any way limit the Purchaser’s right to contract on any of the terms offered.
· Prices quoted by the Bidder shall be fixed during the Bidder’s performance of the contract and not subject to variation on any account, unless otherwise specified in the Bid Data Sheet. A bid submitted with an adjustable price quotation will be treated as nonresponsive and will be rejected.



	Preparation and Submission of Bids

	Qualification/Eligibility Criteria/Knock Down Criteria (To be fulfilled for both Packages)
As per rules, the potential bidder must fulfill the following requirements: -
0. Certificate of Incorporation of bidder’s firm showing its location and the date of registration etc.
0. Active registration with Securities and Exchange Commission of Pakistan (SECP).
0. Active NTN and GST Registration Certificate
0. Bidders with international partner company must provide registration/affiliation/authorization certificate with any such international agency located in relevant country of origin.
0. JV/Consortium Agreement in case of Joint Venture Partners bidding for the tender.
0. Affidavit on Stamp Paper that Company/Firm is not blacklisted by any of Provincial or Federal Government Department, Agency, Organization or Autonomous Body or Private Sector Organization anywhere in Pakistan etc.
0. Valid evidence showing Firm has never been litigated, will allow to participate in the bidding process. Affidavit on stamp paper shall be provided.
0. Audited Financial Statements of last three years shall be provided. Annual average turn over shall be more than 100 million PKR.
0. Must provide details and evidence of 02 Nos. relevant experience during last three years for projects having capacity of greater than 400kWp.
0. Manufacturer Authorization is required from the bidder bidding for the said tender.
0. [bookmark: _Hlk149898880]Warranty declarations from the manufacturer are compulsory, along with its details of Warranty/Extended Warranty (if any).
0. Compliance with the Technical Specifications of each Equipment/Instrument as specified in this Bid Document.
0. Technical Brochures of Equipment quoted, mentioning its specifications, manufacture’s model, product/catalogue number, and country of origin.
0. Authority Letter from the Bidder Company authorizing the relevant person/firm to represent the company in Pakistan as an Authorized/Sole Distributor.
0. If an Agent submits bids on behalf of more than one Manufacturer, unless each such bid is accompanied by a separate Bid Form for each bid, and a bid security, when required, for each bid, and a valid authorized dealership certificate from the respective Manufacturer, all such bids will be rejected as nonresponsive.


	ITB 15.1 Amount of Bid Security: 




	Package 1
	Procurement of Solar Panels (400 KW) on FOR Basis
	Estimated price: Rs ________/- PKR Bid security: 2% of above estimated price

	Package 2
	Procurement of On-Grid Inverters (400kW) on FOR Basis
	Estimated price: Rs ________/- PKR
Bid security: 2% of above estimated price

	Package 3
	EPC of Structure and BOS for system
	Estimated price: Rs ________/- PKR
Bid security: 2% of above estimated price



Bids shall be in the prescribed format, and accompanied by the Bid Security in the form of Call Deposit, Bank Draft, or Pay Order in favor of __________________________ Lahore having its validity 90 days from the date of opening of Bid.

	ITB 16.1 Bid Validity Period: 90 days after the date of opening of bid.

	ITB 17.1 
Financial Bids must be accompanied by unit price and total price. 

	ITB 18.2 (a) Address for Bid Submission: ______________________

	g) ITB 18.2 (b) IFB Title and Number: PROCUREMENT OF SOLAR PV MODULES AND INVERTERS (PACKAGE 1, 2) ON FOR BASIS AND STRUCTURE/BOS (PACKAGE 3) ON EPC BASIS, FOR PAK RED CRESCENT MEDICAL COLLEGE AND TEACHING HOSPITAL
a) , Tender Notice/Advertisement/Request for Proposal Red No.: ______

	ITB 19.1 Deadline for Bid Submission: 20-07-26 before 11:30 AM 

	ITB 22.1 Time, Date, and Place for Bid Opening: 12.00 pm  at Committee Room PRCMDC____________________________________



	Bid Evaluation Criteria & Marking System

	ITB 25.3 Criteria & Marking System on Comparative Basis for the Evaluation of Technical Proposals are under for Bidder:
	Parameters
	Detail
	Total Marks

	Past Performance
(Within Previous 3 Y)
		No. of Institutions Served

	i
	1 to 3
	5

	ii
	4 to 6
	10

	iii
	7 to 10
	15

	iv
	10 and above
	20



	20

	Age of the Company
		Age of the Company

	i
	1-2 year
	8

	ii
	2-4 years
	15

	iii
	Above 4 years
	20



	20

	Length of Dealership
/ Authorization etc
		Length of Dealership/Authorization etc

	i
	Above 4 years
	20

	ii
	3 – 4years
	15

	iii
	2 – 3 years
	10

	iv 
	1 – 2 years
	5

	v
	Below 1 year
	0



	20

	Financial Status
		Financial Status

	i
	Tax Returns (Last 3 years) (1 marks each year)
	5

	ii
	Bank Statement
(Last 3 Y with Turnover of 100 Million PKR)
	10

	iii
	Balance above the amount of quoted items. 
	5



	20

	Human Resource Strength/Experience of Technical Staff (Attach Documentary Proof)
		HR Education & Experience

	i
	Less than 2 persons
	2

	ii 
	3 -5 persons
	5

	iii
	6 -9 persons
	8

	iv
	10 persons and above
	10



	10

	Good Reputation Certificate from any Govt. Institution / Private Sector in Connection with Services
		Good Reputation Certificate

	i
	No certificate provided
	0

	ii
	1 to 2
	4

	iii
	3 to 5
	6

	iv 
	6 and above
	10



	10


The bid must be prepared in its entirety and accompanied by all supporting documents as per evaluation criteria. The bid must be responsive in regard with bid formats, forms and schedule formats. 

	Sr.#
	Description

	1
	Form of Bid (Letter of Offer) and Schedule to Bids (A to E) provided in Section IV and Forms provided in Section V accordingly to be filled and submitted in the technical proposal. Detail attached in the bidding documents.

	2
	Filled Technical Compliance Sheet (BOQ) in Section II of the quoted products as provided in the Bidding Documents, all the products quoted by the firm should be in compliance with the Technical Specifications / Employer’s Requirement Section II, BDS Section III and Schedule of Requirements Section IV.

	3
	Bidders are required to submit the bid security for an amount mentioned in BDS and Section II of Bid Document.

	4
	In case of a JV Firm, a complete Joint Venture Agreement on Non-Judicial Affidavit duly signed by all the Partner Firms clearly mentioning the name of the Lead Firm and JV Partners including details of shareholding of each Partner and/or Power of Attorney from all the Partners for Authorized Signatory.

	5
	Duly signed and stamped by original RFP document should be submitted by firm/bidder by bidder.

	6
	Technical datasheet, literature, brochures, or relevant technical documentation as per Minimum requirements to support the BOQ


Eligibility of Bidders will be determined as per mentioned in BDS. Only Eligible bidders will be evaluated further. Following mandatory evaluation criteria will be followed:
Note: Marks would only be Awarded Based on Verifiable Documentary Proofs
Bidders in order to qualify technically needs to have at least 65 points in accordance with the above requirements/criteria. Evaluation of Technical Bids will be carried out on a PASS/FAIL basis. The Bidder qualifying the above mandatory criteria will be declared Technically Qualified. Financial Bids of only technically qualified bidders will be opened. Financial Bids of Not-Qualified bidders will be returned un-opened



	Contract Award

	ITB 28, 29, 32, 33
a) Contract would be awarded to the successful Bidder whose bid has been determined technically responsive, qualified and has the lowest evaluated financial bid.
b) Percentage for quantity increase or decrease: 15 % of total contract value.
c) The successful Bidder will furnish 5% of the Contract Value as performance security in shape of Bank Guarantee/DD/Bankers Cheque in Pak Rupees in accordance with the Conditions of Contract along with the Performance Security Form.




SECTION-IV: GENERAL CONDITIONS OF CONTRACT

	[bookmark: _Toc391100334]1.	Definitions
	1.1	In this Contract, the following terms shall be interpreted as indicated:
(a)	“The Contract” means the agreement entered into between the Purchaser and the Supplier, as recorded in the Contract Form signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein.
(b)	“The Contract Price” means the price payable to the Supplier under the Contract for the full and proper performance of its contractual obligations.
(c)	“The Goods” means all of the equipment, machinery, and/or other materials which the Supplier is required to supply to the Purchaser under the Contract.
(d)	“The Services” means those services ancillary to the supply of the Goods, such as transportation and insurance, and any other incidental services, such as installation, commissioning, provision of technical assistance, training, and other such obligations of the Supplier covered under the Contract.
(e)	“GCC” mean the General Conditions of Contract contained in this section.
(f)	“SCC” means the Special Conditions of Contract.
(g)	“The Purchaser” means the organization purchasing the Goods, as named in SCC.
(h)	“The Purchaser’s country” is Islamic Republic of Pakistan.
(i)	“The Supplier” means the individual or firm supplying the Goods and Services under this Contract.
(j)	“The Project Site,” where applicable, means the place or places named in SCC.
(k)	“Day” means calendar day.

	[bookmark: _Toc391100335]
2.	Application
	2.1	These General Conditions shall apply to the extent that they are not superseded by provisions of other parts of the Contract.

	[bookmark: _Toc391100336]3.	Country of Origin
	3.2	For purposes of this Clause, “origin” means the place where the Goods were mined, grown, or produced, or from which the Services are supplied.  Goods are produced when, through manufacturing, processing, or substantial and major assembly of components, a commercially recognized new product results that is substantially different in basic characteristics or in purpose or utility from its components.
3.3	The origin of Goods and Services is distinct from the nationality of the Supplier.

	[bookmark: _Toc391100337]4.	Standards
	4.1	The Goods supplied under this Contract shall conform to the standards mentioned in the Technical Specifications, and, when no applicable standard is mentioned, to the authoritative standards appropriate to the Goods’ country of origin. Such standards shall be the latest issued by the concerned institution.

	[bookmark: _Toc391100338]5.	Use of Contract Documents and Information; Inspection and Audit by the Bank
	5.1	The Supplier shall not, without the Purchaser’s prior written consent, disclose the Contract, or any provision thereof, or any specification, plan, drawing, pattern, sample, or information furnished by or on behalf of the Purchaser in connection therewith, to any person other than a person employed by the Supplier in the performance of the Contract. Disclosure to any such employed person shall be made in confidence and shall extend only so far as may be necessary for purposes of such performance.
5.2	The Supplier shall not, without the Purchaser’s prior written consent, make use of any document or information enumerated in GCC Clause 5.1 except for purposes of performing the Contract.
5.3	Any document, other than the Contract itself, enumerated in GCC Clause 5.1 shall remain the property of the Purchaser and shall be returned (all copies) to the Purchaser on completion of the Supplier’s performance under the Contract if so required by the Purchaser.
5.4	The Supplier shall permit the Procuring Agency to inspect the Supplier’s accounts and records relating to the performance of the Supplier and to have them audited by auditors appointed by the Procuring Agency, if so required by the Procuring Agency.

	[bookmark: _Toc391100339]6.	Patent Rights
	6.1	The Supplier shall indemnify the Purchaser against all third‑party claims of infringement of patent, trademark, or industrial design rights arising from use of the Goods or any part thereof.

	[bookmark: _Toc391100340]7.	Performance Security
	7.1	Within ten (10) days of receipt of the notification of Contract award, the successful Bidder shall furnish to the Purchaser the performance security in the amount specified in SCC.
7.2	The proceeds of the performance security shall be payable to the Purchaser as compensation for any loss resulting from the Supplier’s failure to complete its obligations under the Contract.
7.3	The performance security shall be denominated in the currency of the Contract acceptable to the Purchaser and shall be in one of the following forms:
(a)	a bank guarantee /DD/Bankers Cheque issued by a reputable bank located in Pakistan, in the form provided in the bidding documents or another form acceptable to the Purchaser.
7.4	The performance security will be discharged by the Purchaser and returned to the Supplier not later than thirty (30) days following the date of completion of the Supplier’s performance obligations under the Contract, including any warranty obligations, unless specified otherwise in SCC.

	[bookmark: _Toc391100341]8.	Inspections and Tests
	8.1	The Purchaser or its representative shall have the right to inspect and/or to test the Goods to confirm their conformity to the Contract specifications at no extra cost to the Purchaser. SCC and the Technical Specifications shall specify what inspections and tests the Purchaser requires and where they are to be conducted. The Purchaser shall notify the Supplier in writing, in a timely manner, of the identity of any representatives retained for these purposes.
8.2	The inspections and tests may be conducted on the premises of the Supplier or its subcontractor(s), at point of delivery, and/or at the Goods’ final destination. If conducted on the premises of the Supplier or its subcontractor(s), all reasonable facilities and assistance, including access to drawings and production data, shall be furnished to the inspectors at no charge to the Purchaser.
8.3	Should any inspected or tested Goods fail to conform to the Specifications, the Purchaser may reject the Goods, and the Supplier shall either replace the rejected Goods or make alterations necessary to meet specification requirements free of cost to the Purchaser.
8.4	The Purchaser’s right to inspect, test and, where necessary, reject the Goods after the Goods’ arrival in Pakistan shall in no way be limited or waived by reason of the Goods having previously been inspected, tested, and passed by the Purchaser or its representative prior to the Goods’ shipment from the country of origin.
8.5	Nothing in GCC Clause 8 shall in any way release the Supplier from any warranty or other obligations under this Contract.

	[bookmark: _Toc391100342]9.	Packing
	9.1	The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract.  The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit, and open storage.  Packing case size and weights shall take into consideration, where appropriate, the remoteness of the Goods’ final destination and the absence of heavy handling facilities at all points in transit.
9.2	The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract, including additional requirements, if any, specified in SCC, and in any subsequent instructions ordered by the Purchaser. 

	[bookmark: _Toc391100344][bookmark: _Toc391100343]10.	Delivery and Documents
	10.1	Delivery of the Goods shall be made by the Supplier in accordance with the terms specified in the Schedule of Requirements. The details of shipping and/or other documents to be furnished by the Supplier are specified in SCC.
10.2	Documents to be submitted by the Supplier are specified in SCC.

	[bookmark: _Toc391100345]11.	Insurance
	11.1	Insurance coverage is supplier responsibility for all the goods supplied on DDP basis up to CEMB, Lahore under the Contract.

	[bookmark: _Toc391100346]12.Transportation
	12.1	The Supplier is required under the Contract to transport the Goods to a specified place of destination within the Purchaser’s country, transport to such place of destination in the Purchaser’s country, including insurance and storage, as shall be specified in the Contract, shall be arranged by the Supplier, and related costs shall be included in the Contract Price.

	[bookmark: _Toc391100347]13.	Incidental Services
	13.1	The Supplier may be required to provide any or all of the following services, including additional services, if any, specified in SCC:
(a)	performance or supervision of on-site assembly and/or start‑up of the supplied Goods;
(b)	furnishing of tools required for assembly and/or maintenance of the supplied Goods;
(c)	furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied Goods;
(d)	quarterly performance or supervision or maintenance and/or repair of the supplied Goods, during a warranty period of 1 year free of cost, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and
(e)	Compulsory training of the nominated Purchaser’s personnel, at the supplier’s plant and/or on-site (local/foreign training), in assembly, start-up, operation, maintenance, and/or repair of the supplied Goods.
13.2	Prices charged by the Supplier for incidental services, if not included in the Contract Price for the Goods, shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged for other parties by the Supplier for similar services.


	[bookmark: _Toc391100348]14.	Spare Parts
	14.1	As specified in SCC, the Supplier may be required to provide any or all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the Supplier:
(a)	such spare parts as the Purchaser may elect to purchase from the Supplier, provided that this election shall not relieve the Supplier of any warranty obligations under the Contract; and
(b)	in the event of termination of production of the spare parts:
(i)	advance notification to the Purchaser of the pending termination, in sufficient time to permit the Purchaser to procure needed requirements; and
(ii)	following such termination, furnishing at no cost to the Purchaser, the blueprints, drawings, and specifications of the spare parts, if requested.

	[bookmark: _Toc391100349]15.	Warranty
	15.1	The Supplier warrants that the Goods supplied under the Contract are new, unused, of the most recent or current models, and that they incorporate all recent improvements in design and materials unless provided otherwise in the Contract.  The Supplier further warrants that all Goods supplied under this Contract shall have no defect, arising from design, materials, or workmanship (except when the design and/or material is required by the Purchaser’s specifications) or from any act or omission of the Supplier, that may develop under normal use of the supplied Goods in the conditions prevailing in the country of final destination.
15.2	This warranty shall remain valid for twelve (12) months after the Goods, or any portion thereof as the case may be, have been installed and accepted at the final destination indicated in the Contract, or for thirty six (36) months after the date of shipment from the port or place of loading in the source country, whichever period concludes earlier, unless specified otherwise in SCC.
15.3	The Purchaser shall promptly notify the Supplier in writing /electronically (e-mail/fax) of any claims arising under this warranty.
15.4	Upon receipt of such notice, the Supplier shall, within the period specified in SCC and with all reasonable speed, repair or replace the defective Goods or parts thereof, without costs to the Purchaser.
15.5	If the Supplier, having been notified, fails to remedy the defect(s) within the period specified in SCC, within a reasonable period, the Purchaser may proceed to take such remedial action as may be necessary, at the Supplier’s risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.

	[bookmark: _Toc391100350]16.	Payment
	16.1	The method and conditions of payment to be made to the Supplier under this Contract shall be specified in SCC.
16.2	The Supplier’s request(s) for payment shall be made to the Purchaser in writing, accompanied by an invoice describing, as appropriate, the Goods delivered and Services performed, and by documents submitted pursuant to GCC Clause 10, and upon fulfillment of other obligations stipulated in the Contract.
16.3	Payments shall be made promptly by the Purchaser within thirty (30) days, but in no case later than forty five (45) days after submission of an invoice or claim by the Supplier.
16.4	The payment would be made in favor of Manufacturer, Authorized / Sole Distributor / Bidder.

	[bookmark: _Toc391100351]17.	Prices
	17.1	Prices charged by the Supplier for Goods delivered and Services performed under the Contract shall not vary from the prices quoted by the Supplier in its bid, with the exception of any price adjustments authorized in SCC or in the Purchaser’s request for bid validity extension, as the case may be.

	[bookmark: _Toc391100352]18.	Change Orders
	18.1	The Purchaser may at any time, by a written order given to the Supplier pursuant to GCC Clause 31, make changes within the general scope of the Contract in any one or more of the following:
(a)	drawings, designs, or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the purchaser.
(b)	the method of shipment or packing.
(c)	the place of delivery; and/or
(d)	the Services to be provided by the Supplier.
18.2	If any such change causes an increase or decrease in the cost of, or the time required for, the Supplier’s performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or delivery schedule, or both, and the Contract shall accordingly be amended. Any claim by the Supplier for adjustment under this clause must be asserted within thirty (30) days from the date of the Supplier’s receipt of the Purchaser’s change order.

	[bookmark: _Toc391100353]19.	Contract Amendments
	19.1	Subject to GCC Clause 18, no variation in or modification 
of the terms of the Contract shall be made except by written 
amendment signed by the parties.



	[bookmark: _Toc391100354]20.	Assignment
	20.1	The Supplier shall not assign, in whole or in part, its obligations to perform under this Contract, except with the Purchaser’s prior written consent.

	[bookmark: _Toc391100355]21.	Subcontracts
	21.1	The Supplier shall notify the Purchaser in writing of all subcontracts awarded under this Contract if not already specified in the bid. Such notification, in the original bid or later, shall not relieve the Supplier from any liability or obligation under the Contract.
21.2	Subcontracts must comply with the provisions of GCC Clause 3.

	[bookmark: _Toc391100356]22.	Delays in the Supplier’s Performance
	22.1	Delivery of the Goods and performance of Services shall be made by the Supplier in accordance with the time schedule prescribed by the Purchaser in the Schedule of Requirements.
22.2	If at any time during performance of the Contract, the Supplier or its subcontractor(s) should encounter conditions impeding timely delivery of the Goods and performance of Services, the Supplier shall promptly notify the Purchaser in writing of the fact of the delay, it’s likely duration and its cause(s). As soon as practicable after receipt of the Supplier’s notice, the Purchaser shall evaluate the situation and may at its discretion extend the Supplier’s time for performance, with or without liquidated damages, in which case the extension shall be ratified by the parties by amendment of Contract.
22.3	Except as provided under GCC Clause 25, a delay by the Supplier in the performance of its delivery obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 23, unless an extension of time is agreed upon pursuant to GCC Clause 22.2 without the application of liquidated damages.

	[bookmark: _Toc391100357]23.	Liquidated Damages
	23.1	Subject to GCC Clause 25, if the Supplier fails to deliver any or all of the Goods or to perform the Services within the period(s) specified in the Contract, the Purchaser shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in SCC of the delivered price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified in SCC. Once the maximum is reached, the Purchaser may consider termination of the Contract pursuant to GCC Clause 24.

	[bookmark: _Toc391100358]24.	Termination for Default
	24.1	The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate this Contract in whole or in part:
(a)	if the Supplier fails to deliver any or all of the Goods within the period(s) specified in the Contract, or within any extension thereof granted by the Purchaser pursuant to GCC Clause 22; or
(b)	if the Supplier fails to perform any other obligation(s) under the Contract.
(c)	if the Supplier, in the judgment of the Purchaser has engaged in corrupt or fraudulent practices in competing for or in executing the Contract.
	For the purpose of this clause:
	“Corrupt practice” means the offering, giving, receiving, or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution.
	“fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Procuring Agency, and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the Procuring Agency of the benefits of free and open competition.
24.2	In the event the Purchaser terminates the Contract in whole or in part, pursuant to GCC Clause 24.1, the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Services similar to those undelivered, and the Supplier shall be liable to the Purchaser for any excess costs for such similar Goods or Services.  However, the Supplier shall continue performance of the Contract to the extent not terminated.

	[bookmark: _Toc391100359]25.	Force Majeure
	25.1	Notwithstanding the provisions of GCC Clauses 22, 23, and 24, the Supplier shall not be liable for forfeiture of its performance security, liquidated damages, or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.
25.2	For purposes of this clause, “Force Majeure” means an event beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable.  Such events may include, but are not restricted to, acts of the Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.
25.3	If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such condition and the cause thereof.  Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

	[bookmark: _Toc391100360]26.	Termination for Insolvency
	26.1	The Purchaser may at any time terminate the Contract by giving written notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent.  In this event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the Purchaser.

	[bookmark: _Toc391100361]27.	Termination for Convenience
	27.1	The Purchaser, by written notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience.  The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.
27.2	The Goods that are complete and ready for shipment within thirty (30) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices.  For the remaining Goods, the Purchaser may elect:
(a)	to have any portion completed and delivered at the Contract terms and prices; and/or
(b)	to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Services and for materials and parts previously procured by the Supplier.

	[bookmark: _Toc391100362]28.	Resolution of Disputes
	28.1	The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract.
28.2	If, after thirty (30) days from the commencement of such informal negotiations, the Purchaser and the Supplier have been unable to resolve amicably a Contract dispute, either party may require that the dispute be referred for resolution to the formal mechanisms specified in SCC. These mechanisms may include, but are not restricted to, conciliation mediated by a third party, adjudication in an agreed and/or arbitration.


	[bookmark: _Toc391100363]29.	Governing Language
	29.1	The Contract shall be written in the language specified in SCC.  Subject to GCC Clause 30, the version of the Contract written in the specified language shall govern its interpretation.  All correspondence and other documents pertaining to the Contract which are exchanged by the parties shall be written in the same language.

	[bookmark: _Toc391100364]30.	Applicable Law
	30.1	The Contract shall be interpreted in accordance with the laws of Islamic Republic of Pakistan.

	[bookmark: _Toc391100365][bookmark: _Toc391100366]31.	Notices
	31.1	Any notice given by one party to the other pursuant to this Contract shall be sent to the other party in writing or by fax and confirmed in writing to the other party’s address specified in SCC.
31.2	A notice shall be effective when delivered or on the notice’s effective date, whichever is later.

	[bookmark: _Toc391100367]32.	Taxes and Duties
	32.1	Supplier shall be entirely responsible for all taxes, duties, license fees, etc., incurred until delivery of the contracted Goods to the Purchaser.




SECTION-V: SPECIAL CONDITIONS OF THE CONTRACT

The following Special Conditions of Contract shall supplement the General Conditions of Contract.  Whenever there is a conflict, the provisions herein shall prevail over those in the General Conditions of Contract.  The corresponding clause number of the GCC is indicated in parentheses.
1. Definitions (GCC Clause 1)
GCC 1.1 (g)—The Purchaser is: PAK RED CRESCENT MEDICAL COLLEGE AND TEACHING HOSPITAL.
GCC 1.1 (h)—The Purchaser’s country is: Islamic Republic of Pakistan
GCC 1.1 (i)—The Supplier is: [                                                                                 ]
GCC 1.1 (j)—The Project Site is: PAK RED CRESCENT MEDICAL COLLEGE AND TEACHING HOSPITAL, 48-km Multan Road, Dina Nath
2.	Country of Origin (GCC Clause 3)

3.	Performance Security (GCC Clause 7)
GCC 7.1—The amount of performance security, as a percentage of the Contract Award Price, shall be 5% (Five per cent of the contract award price) in the shape of Pay Order/Demand Draft/Bankers Cheque from scheduled bank of Pakistan.
[bookmark: _Toc369267004][bookmark: _Toc340549336]4.	Inspections and Tests (GCC Clause 8)
GCC 8.6—
Inspection and tests prior to delivery of goods and at final acceptance are: -
i) For being Brand New, bearing relevant reference numbers of the equipment (Certificate from supplier)
ii) For Physical Fitness having No Damages (Certificate from supplier)
iii) For the Country of Origin as quoted by the Supplier (Certificate from manufacturer)
iv) For conformance to specifications and performance parameters, through Prior to delivery inspection (Inspection Report by PMU)
v) For successful operation at site after complete installation, testing and commissioning of the equipment (Installation, Testing and Commissioning Report by PMU)
5.	Delivery and Documents (GCC Clause 10)
GCC 10.3— Upon shipment, the Supplier shall notify the Purchaser the full details of the shipment, including Contract number, description of Goods, quantity and usual transport document.  The Supplier shall mail the following documents to the Purchaser:
(i)	Copies of the Supplier’s invoice showing Goods’ description, quantity, unit price, and total amount;
(ii)	Original and two copies of the usual transport document (for example, a negotiable bill of lading, a non-negotiable sea way bill, an inland water way document, an air waybill, a railway consignment note, a road consignment note, or a multimodal transport document) which the buyer may require to take the goods;
(iii)	Copies of the packing list identifying contents of each package as dispatched by the manufacturer;

(iv)	Insurance certificate
(v)	Manufacturer’s or Supplier’s Valid Warranty Certificate;
(vi)	Inspection Certificate issued by the Nominated Inspection Agency (if any), and the Supplier’s Factory Inspection Report; and
vi) Certificate of Origin.
vii) The supplier must provide the following free of cost: Standard Tool Kits, Consumables & Standards needed for Installation & Commissioning of Equipment / Instrument along with all Technical, Operation & Maintenance Manual.
(viii) The above documents would be required even if the equipment has already been imported and is available with the supplier ex-stock
6.	Insurance (GCC Clause 11)
[bookmark: _Toc340549340][bookmark: _Toc369267008]GCC 11.1— Since the Insurance is supplier responsibility, they may arrange appropriate coverage.
7.	Incidental Services (GCC Clause 13)
GCC 13.1—Incidental services to be provided are:
A) At site/foreign complete training of Purchaser’s nominated staff regarding maintenance and operation of Goods.
B) At site preventive maintenance on quarterly basis by the bidder’s qualified staff for one year warranty period, starting from final acceptance of goods. The rate must include cost for all kinds of labor, inputs and material required for above, and all applicable government taxes and levies. In case a separate rate is not provided by the bidder for the above items, it shall be deemed to have been covered in the overall quoted cost.
8.	Warranty (GCC Clause 15)
GCC 15.2—In accordance with the provisions, the warranty period shall be 12 months (parts and labor warranty) from date of Installation (Final Acceptance) of the Goods. The Supplier shall, in addition, comply with the performance and/or consumption guarantees specified under the Contract. If, for reasons attributable to the Supplier, these guarantees are not attained in whole or in part, the Supplier shall, at its discretion, either:
(a)	Make such changes, modifications, and/or additions to the Goods or any part thereof as may be necessary in order to attain the contractual guarantees specified in the Contract at its own cost and expense and to carry out further performance tests in accordance with SCC 4,
or
(b)	Pay liquidated damages to the Purchaser with respect to the failure to meet the contractual guarantees. The rate of these liquidated damages shall be 0.1 % of the contract price per day. The maximum amount of liquidated damages for the whole of the goods or part thereof shall be 10% of the contract price with forfeiting of Performance guarantee along with backlisting of the firm/supplier.
or
(b) Replacement of the whole unit at site including transportation, installation, testing & commissioning etc in case of major defect at his own cost.
GCC 15.4 & 15.5—the period for correction of defects in the warranty period is 72 hours.






9.	Payment (GCC Clause 16) 
GCC 16.1—The method and conditions of payment to be made to the Supplier under this Contract shall be as follows:
Payment will be made in Pak Rupees for quotes on DDP basis up to CEMB, Lahore. Payment will be made within one month after performing the requisite inspection and tests as mentioned in SCC 4, installation of the goods & equipment at CEMB, Lahore.
12.	Prices (GCC Clause 17)
GCC 17.1—Prices shall be: Fixed.
13.	Liquidated Damages (GCC Clause 23)
GCC 23.1—Applicable rate: 0.1 % of contract price per day 
Maximum deduction: 10 % of contract price 
14.	Resolution of Disputes (GCC Clause 28)
GCC 28.3—The dispute resolution mechanism to be applied pursuant to GCC Clause 28.2 shall be as follows:
In the case of a dispute between the Purchaser and the Supplier, the dispute shall be referred. Firstly to Grievance Redressal Committee PRCMCTH, if not resolved amicably then as per laws of the land or arbitration in accordance with the Pakistan Arbitration Act, 1940 and all adjudication will take place in Lahore.
15.	Governing Language (GCC Clause 29)
GCC 29.1—The Governing Language shall be: English.
16.  Applicable Law (GCC Clause 30)
GCC 30.1-The Contract shall be interpreted in accordance with the laws of Islamic Republic of Pakistan which includes the following legislation:
		The Employment of Children (ECA) Act 1991
		The Bonded Labour System (Abolition) Act of 1992
		The Factories Act 1934
17.	Notices (GCC Clause 31)
GCC 31.1—Purchaser’s address for notice purposes– PRCMDC, 48 km Multan Road, Dina Nath




	Supplier’s address for notice purposes:



[bookmark: _bookmark119]SECTION-IV. SCHEDULE OF REQUIREMENTS
[bookmark: _bookmark120]SCHEDULE – A TO BID
The delivery schedule expressed as weeks/months stipulates a delivery date which is the date at which delivery is required. In order to determine the correct date of delivery hereafter specified, the Procuring Agency has taken into account the additional time that will be needed for international or national transit to the Project Site or to another common place.

	Number
	Description
	Quantity
	Delivery schedule (shipment) in weeks

	
	
	
	





SCHEDULE – B TO BID
PROPOSED PROGRAMME OF WORKS

Bidder shall provide a program in a bar-chart/CPM/PERT form showing the sequence of work items by which he proposes to complete the work of the entire Contract. The program should indicate the sequence of work items and the period of time during which he proposes to complete the Works including the activities like designing, schedule of submittal of drawings, ordering and procurement of materials, manufacturing, delivering, construction of civil works, erection, testing and commissioning of Works to be supplied under the Contract.



[bookmark: _bookmark125][bookmark: _bookmark123]SCHEDULE – C TO BID

METHOD OF PERFORMING WORKS

The bidder is required to submit a narrative outlining the method of performing the Works. The narrative should indicate in detail and include but not be limited to:
· The sequence and methods in which he proposes to carry out the Works, including the number of shifts per day and hours per shift, he expects to work.
· A list of all major items of constructional and erection plant, tools and vehicles proposed to be used in carrying out the Works at Site, including number of each kind, make, type, capacity of all equipment, working condition, which shall be deployed by him for Civil Work and Erection, Testing and Commissioning of the Works, in sufficient detail to demonstrate fully that the equipment will meet all the requirements of the Technical Provisions.
· The procedure for installation of equipment and transportation of equipment and materials to the site.
· Details regarding mobilization in Pakistan, the type of facilities including personnel accommodation, office accommodation, provision for maintenance and for storage, communications, security and other services to be used.

· Organization chart indicating head office & field office personnel involved in management, supervision and engineering of the Works to be done under the Contract.






[Note: Attach additional sheets, if necessary]



[bookmark: _bookmark126]SCHEDULE – D	TO BID

PROPOSED ORGANISATION

The bidder shall list in this Schedule the key personnel he will employ from Head office and from Site office to direct and execute the Works, together with their names, ID, qualifications, experience, positions held and their nationalities.




	Designation
	Name
	CNIC Number, Summary of
Qualifications Experience, Present Position and Nationality





· Head Office:
· Site Office: Contractor’s Representative Site Superintendent Supervising Engineer
Plant Erectors Construction Supervisors Other Key Staff




[bookmark: _bookmark127]
SCHEDULE – E TO BID
(INTEGRITY PACT)
DECLARATION OF FEES, COMMISSION AND BROKERAGE ETC. PAYABLE BY THE SUPPLIERS OF GOODS, SERVICES & WORKS IN CONTRACTS WORTH RS. 10.00 MILLION OR MORE
Contract No. Dated Contract Value: Contract Title: 	

…	[name of Supplier] hereby declares that it has not obtained.
or induced the procurement of any contract, right, interest, privilege or other obligation or benefit from Government of Pakistan (GoP) or any administrative subdivision or agency thereof or any other entity owned or controlled by GoP through any corrupt business practice.

Without limiting the generality of the foregoing, [name of Supplier] represents and warrants that it has fully declared the brokerage, commission, fees etc. paid or payable to anyone and not given or agreed to give and shall not give or agree to give to anyone within or outside Pakistan either directly or indirectly through any natural or juridical person, including its affiliate, agent, associate, broker, consultant, director, promoter, shareholder, sponsor or subsidiary, any commission, gratification, bribe, finder’s fee or kickback, whether described as consultation fee or otherwise, with the object of obtaining or inducing the procurement of a contract, right, interest, privilege or other obligation or benefit in whatsoever form from GoP, except that which has been expressly declared pursuant hereto.

[name of Supplier] certifies that it has made and will make full disclosure of all agreements and arrangements with all persons in respect of or related to the transaction with GoP and has not taken any action or will not take any action to circumvent the above declaration, representation or warranty.

[name of Supplier] accepts full responsibility and strict liability for making any false declaration, not making full disclosure, misrepresenting facts or taking any action likely to defeat the purpose of this declaration, representation and warranty. It agrees that any contract, right, interest, privilege or other obligation or benefit obtained or procured as aforesaid shall, without prejudice to any other rights and remedies available to GoP under any law, contract or other instrument, be voidable at the option of GoP.

Notwithstanding any rights and remedies exercised by GoP in this regard, [name of Supplier] agrees to indemnify GoP for any loss or damage incurred by it on account of its corrupt business practices and further pay compensation to GoP in an amount equivalent to ten time the sum of any commission, gratification, bribe, finder’s fee or kickback given by [name of Supplier] as aforesaid for the purpose of obtaining or inducing the procurement of any contract, right, interest, privilege or other obligation or benefit in whatsoever form from GoP.
	
Name of Buyer: ………………
	
Name of Seller/Supplier: …………

	Signature: ……………………
	Signature: …………………………

	[Seal]
	[Seal]


[bookmark: _bookmark128]


SECTION-V: SAMPLE FORMS
[bookmark: _bookmark129]5.1 Bid Form
[To be signed & stamped by the Goods Provider and reproduced on the letter head. To be attached with the Financial Bid in case of Single Stage Two Envelope Procedure]
Date: 	

To: [name and address of Procuring Agency]

Gentlemen and/or Ladies:

Having examined the Bidding documents including Addenda Nos. [insert numbers], the receipt of which is hereby duly acknowledged, we, the undersigned, in conformity with the said Bidding documents for the sum of [total Bid amount in words and figures] or such other sums as may be ascertained in accordance with the Schedule of Prices attached herewith and made part of this Bid.

We undertake, if our Bid is accepted, specified in the Schedule of Requirements.

If our Bid is accepted, we will obtain the guarantee of a bank in a sum equivalent to 5% of the Contract Price for the due performance of the Contract, in the form prescribed by the Procuring Agency.
We agree to a Bid by this Bid for a period of 90 days from the date fixed to Bid opening under Clause 2.3.8 of the Instructions to Bidders, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

Until a formal Contract is prepared and executed (if required), this Bid, together with your written acceptance thereof and your notification of award, shall constitute a binding Contract between us.

The Composition of our bid consists on separate Technical and financial bids, detail of which is as follows:
Technical bid includes the following: -
1. Complete bidding document (without filling) signed and stamped by the bidder.
1. All the forms relevant to the technical bid, to be reproduced on the letter head of the bidder as indicated on each individual form.
1. Copy of bid security form along with copy of financial instruments [to be decided by the procuring agency i.e. Bank Guarantee / Bank call-deposit (CDR)
/ Demand Draft (DD) / Pay Order (PO) or Banker’s cheque] valid for 120 Days, beyond the validity of Bid in the manner as prescribed on the bid security form 8.10.
1. Any other document required by the procuring agency not inconsistent with PPR-14.

Financial bid includes the following: -

1. Original Bid form (as per form 8.1 of Bidding documents) on letter head of the firm, duly signed and stamped.
1. Price schedule / financial form (as per form 8.10) to be reproduced on the letter head of the bidder duly signed and stamped.
1. Original Bid security form (as per form 8.11) along with Original financial instrument [to be decided by the procuring agency i.e. Bank Guarantee / Bank call-deposit (CDR) / Demand Draft (DD) / Pay Order (PO) or Banker’s cheque] valid for 120 Days, beyond the validity of Bid.
1. Any other document required by the procuring agency not inconsistent with PRCMCTH.

Commissions or gratuities, if any, paid or to be paid by us to agents relating to this Bid, and to contract execution if we are awarded the contract, are listed below:


	Name and address of goods
provider
	Amount and Currency








(if none, state “none”)

We understand that you are not bound to accept the lowest or any Bid you may receive. Dated this 	day of 	20	.


[signature]	[in the capacity of]

Duly authorized to sign Bid for and on behalf of 	



[bookmark: _bookmark130]5.2 Bidder’s JV Members Information Form
{To be reproduced and signed & stamped by the lead partner and all JV members on their letter Pad, to be attached with Technical Bid in addition to the JV agreement}
{The Bidder shall fill in this Form in accordance with the instructions indicated below. The following table shall be filled in for the Bidder and for each member of a Joint Venture}.
Date: [insert date (as day, month and year) of Bid submission] RFB No.: [insert number of RFB process]
Alternative No.: [insert identification No if this is a Bid for an alternative]

Page 	of_ 	pages

	1.  Bidder’s Name: [insert Bidder’s legal name]

	2.  Bidder’s JV Member’s name: [insert JV’s Member legal name]

	3.  Bidder’s JV Member’s country of registration: [insert JV’s Member country of
registration]

	4.  Bidder’s JV Member’s year of registration: [insert JV’s Member year of registration]

	5.  Bidder’s JV Member’s legal address in country of registration: [insert JV’s Member legal
address in country of registration]

	6. Bidder’s JV Member’s authorized representative information Name: [insert name of JV’s Member authorized representative] Address: [insert address of JV’s Member authorized representative]
Telephone/Fax numbers: [insert telephone/fax numbers of JV’s Member authorized
representative]
Email Address: [insert email address of JV’s Member authorized representative]

	1. 	Attached are copies of original documents of [check the box(es) of the attached original documents]
0. Articles of Incorporation (or equivalent documents of constitution or association), and/or registration documents of the legal entity named above, in accordance with ITB/BDS
0. In case of a state-owned enterprise or institution, documents establishing legal and financial autonomy, operation in accordance with commercial law, and that they are not under the supervision of the Purchaser, in accordance with ITB/BDS.
1. Included are the organizational chart, a list of Board of Directors, and the beneficial ownership.






5.3 Manufacturer’s Authorization Form
[To be signed and stamped by the Bidder and to be attached with Technical Bid]

To: [name of the Procuring Agency]

WHEREAS [name of the Manufacturer], who are established and reputable manufacturers of [name and/or description of the goods] having factories at [address of factory] do hereby authorize [name and address of Agent] to submit a Bid, and subsequently negotiate and sign the Contract with you against for the above goods manufactured by us.

We hereby extend our full guarantee and warranty as per Clause 15 of the General Conditions of Contract for the goods offered for supply by the above firm against this Invitation to Bids.





[Signature for and on behalf of Manufacturer]


Note: This letter of authority should be on the letterhead of the Manufacturer and should be signed by a person competent and having the power of attorney to bind the Manufacturer. It should be included by the Bidder in its Bid.



                                                                               

[bookmark: _bookmark132]5.4 Bidder Profile Form
[To be signed & stamped by the Bidder and reproduced on the letter head. To be attached with Technical Bid]

	Sr.#
	Particulars

	1.
	Name of the company:

	2.
	Registered Office:

	Address:

	Office Telephone Number:

	Fax Number:

	3.
	Contact Person:

	Name:

	Personal Telephone Number:

	Email Address:

	4.
	Local office if any:

	Address:

	Office Telephone Number:

	Fax Number:

	5.
	Registration Details:



1. Audited Financial Statement Attachment/Income Tax Returns (Last 	years )

	Yes
	No



1. Details of Experience (Last 	Years)

	(i)
	Similar Project (Agency/Department)
	Item Name

	
	
	

	
	
	

	
	
	

	(ii)
	Value of total Projects/Tenders/POs
	Amount

	
	
	

	
	
	

	
	
	



1. Staff Detail and last month Payroll

	Yes
	No




[bookmark: _bookmark133]


5.5 General Information Form
[To be signed & stamped by the Bidder and reproduced on the letter head. To be attached with Technical Bid]

	
	Particulars

	
Company Name
	

	Abbreviated Name
	

	
	
	
	
	

	National Tax No.
	
	
	Sales Tax Registration No
	

	
	
	
	
	

	PRA Tax No.
	
	
	
	

	No. of Employees
	
	
	Company’s Date of
	

	
	
	
	Formation
	

	
	
	
	
	
	



*Please attach copies of NTN, GST Registration & Professional Tax Certificate

	Registered Office
	
	State/Province
	

	Address
	
	
	

	City/Town
	
	Postal Code
	

	Phone
	
	Fax
	

	Email Address
	
	Website Address
	


[image: Pak Red Crescent Medical And Dental College]Pak Red Crescent Medical College And Teaching Hospital
48 km Multan Rd, Dina Nath, 55260, Pakistan

[image: Pak Red Crescent Medical And Dental College]Pak Red Crescent Medical College And Teaching Hospital 
48 km Multan Rd, Dina Nath, 55260, Pakistan
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[bookmark: _bookmark134]5.6 Affidavit

[To be printed on PKR 100 Stamp Paper, duly attested by oath commissioner. To be attached with Technical Bid]

Name: 	 (Applicant)
I, the undersigned, do hereby certify that all the statements made in the Bidding
document and in the supporting documents are true, correct and valid to the best of my knowledge and belief and may be verified by employer if the Employer, at any time, deems it necessary.
The undersigned hereby authorize and request the bank, person, company or corporation to furnish any additional information requested by the [name of Procuring Agency] of the Punjab deemed necessary to verify this statement regarding my (our) competence and general reputation.
The undersigned understands and agrees that further qualifying information may be requested and agrees to furnish any such information at the request of the [name of Procuring Agency]. The undersigned further affirms on behalf of the firm that:
2. The firm is not currently blacklisted by the Procuring Agency.
2. The documents/photocopies provided with Bid are authentic. In case, any fake/bogus document was found at any stage, the firm shall be blacklisted as per Law/ Rules.
2. Affidavit for correctness of information.
2. **********omitted******
[Name of the Contractor/ Bidder/ Supplier] undertakes to treat all information provided as confidential.
Signed by an authorized Officer of the company

Title of Officer: 	
Name of Company: 	
Date:		




[bookmark: _bookmark135]5.7 Performance Guarantee Form
[To be signed & stamped by the Bidder and reproduced on the letter head. To be attached with Technical Bid]
To,
[name and address of the Procuring Agency]

WHEREAS   (Name	of	the	Contractor/	Supplier)
	 hereinafter called "the Contractor" has undertaken, in pursuance of “INVITATION TO BID FOR THE “PROVISION OF 	” procurement of the following:
1. [Please insert details].
(Here in after called “the Contract").
AND WHEREAS it has been stipulated by you in the Contract that the Contractor shall furnish you with a bank guarantee by a scheduled bank for the sum specified therein as security for compliance with the Contractor's performance obligations in accordance with the Contract; AND WHEREAS we have agreed to give the Contractor a Guarantee;
THEREFORE WE hereby affirm that we are Guarantor and responsible to you, on behalf of the Contractor, up to a total of 	(Amount of the guarantee in words and figures), and we undertake to pay you, upon your first written demand declaring the Contractor to be in default under the Contract, and without cavil or argument, any sum or sums as specified by you, within the limits of 		(Amount of Guarantee) as aforesaid without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.
This guarantee is valid until 	 day of 	, 20 , or 	 [insert number of days] after the rectification of the Defects, whichever is later.


[NAME OF GUARANTOR]
Signature			 Name			 Title 	 Address		  Seal		
Date	





[bookmark: _bookmark136]5.8 Technical Bid Form 

[To be signed & stamped by the Bidder and reproduced on the letter head. To be attached with Technical Bid]

Package 1: Solar PV Modules/Panels

	Sr.
No.
	Item name
	Brand name with Country of
Manufacturer
	Make & model
	Quantity
	Country of Origin
	Specifications dimensions

	
	
	
	
	
	
	

	
	
	
	
	
	
	



Package 2: On-Grid Solar Smart Inverter

	Sr.
No.
	Item name
	Brand name with Country of
Manufacturer
	Make & model
	Quantity
	Country of Origin
	Specifications dimensions

	
	
	
	
	
	
	

	
	
	
	
	
	
	



Package 3: Mounting Structure and Balance of System

	Sr.
No.
	Item name
	Brand name with Country of
Manufacturer
	Make & model
	Quantity
	Country of Origin
	Specifications dimensions

	
	
	
	
	
	
	

	
	
	
	
	
	
	



Stamp & Signature of Bidder 	




Technical Bid Form: Solar PV Panels
The bidders need to fill this specification forms and provide documentary evidence

	Parameters
	Min. Specifications required
	Status 
	Documentary Evidence attached

	
	
	Yes
	NO
	Yes
	NO

	Module Make
	Tier 1, Brand should be verifiable for the procurement year
	
	
	
	

	PV Module Capacity
	585 Watts or above (as per design)
	
	
	
	

	PV Module Type
	Type: N-Type (HJT/TopCon)
	
	
	
	

	Cell Quality
	A Grade (verifiable)
	
	
	
	

	Module Efficiency
	22% or higher
	
	
	
	

	Power Tolerance
	Must be + 3% or more
	
	
	
	

	Operating cell Temperature
	minus 40C to positive 85C
	
	
	
	

	Temperature coefficient
	minus 40 %/ C or less 
	
	
	
	

	bypass diode
	AS per design
	
	
	
	

	Bus bar
	9 or higher
	
	
	
	

	Certification
	IEC 61215, IEC 61730, IEC 61439, IEC 60947-3 as amended to date, PID FREE
	
	
	
	

	Frame 
	Must withstand 5400 PA impulse Load
	
	
	
	

	Junction box
	IP 67 or better
	
	
	
	

	Cable
	6mm2 (IEC),1000mm or higher (As per design)
	
	
	
	

	Connectors
	MC4 or comparable weather proof
	
	
	
	

	Front cover
	3.2 thick prism type tempered glass or higher
	
	
	
	

	Product Warranty and Guarantee
	10 years product replacement warranty power output within 10 years shall not fall below 90%Power output within 25 years shall not fall below 80%
	
	
	
	

	
	12 years full replacement of module, if the major components malfunctioning PV module performance guarantee 25 years or more Type of performance guarantee shall be final after 1st year
	
	
	
	





Stamp & Signature of Bidder 	

Technical Bid Form: On-Grid Solar Smart Inverter

The bidders need to fill this specification forms and provide documentary evidence.

	Parameters
	Min. Specifications required
	Status
	Documentary Evidence attached

	
	
	YES
	NO
	YES
	NO

	Inverter Manufacturer
	50 MW or above deployment in last years. Renowned and verifiable brand having successful history in similar climatic conditions.
	
	
	
	

	Inverter Type
	String Inverter
	
	
	
	

	Pakistan Local case reference
	3 Cases of 3-5MW Solar Projects
	
	
	
	

	Inverter Type
	String Inverter
	
	
	
	

	Max. Efficiency/ European Efficiency
	> 98.4% or above
	
	
	
	

	Min. Output Power
	115KW @ 25℃
	
	
	
	

	Max. Input Voltage
	1,100V
	
	
	
	

	MPPT input current
	30A
	
	
	
	

	MPPT Operating Voltage Range
	200V ~ 1000V
	
	
	
	

	Output Voltage Range
	400 Vac/ 480 Vac, 3W+(N) + PE
	
	
	
	

	Max. Total Harmonic Distortion
	<3%. As per relevant IEC clauses.
	
	
	
	

	Power Factor
	0.8	leading ~ 0.8	lagging
	
	
	
	

	IP Protection
	IP 66 or Better 
	
	
	
	

	Standby power consumption
	Max 3.5W 
	
	
	
	

	Smart IV Diagnosis
	Level 4, Globally applicable 
	
	
	
	

	Protections
	1. Smart String-Level Disconnector (SSLD) 
	
	
	
	

	
	2. Input-side Disconnection Device
	
	
	
	

	
	3. Anti-islanding Protection
	
	
	
	

	
	4. AC Overcurrent Protection
	
	
	
	

	
	5. DC Reverse-polarity Protection
	
	
	
	

	
	6. PV-array String Fault Monitoring
	
	
	
	

	
	7. DC Insulation Resistance Detection
	
	
	
	

	
	8. Residual Current Monitoring Unit
	
	
	
	

	
	9. DC Surge Arrester
	
	
	
	

	
	10. AC Surge Arrester
	
	
	
	

	Operating temperature
	–250C to 60oC
	
	
	
	

	Communication
	With Remote Monitoring Feature, Mobile App, Web server user interface, Cloud Connected.
Real Time System Monitoring. Alerts, Faults and Warning data display. System Statistics – System Parameters,
PV predicted values, Forecasted values, Load data, Energy
Support W-LAN/4G/RS485 communication
	
	
	
	

	Minimum Applicable Standards and Compliances
	IEC62109-1/-2, IEC62116, IEC60068, IEC61683, IEC 61727
	
	
	
	

	Additional Feature 
	IV curve tester should be built in, with no external system. 
Built-In Advanced Fault Detection.
Smart String Level Detection should be available on board 
	
	
	
	

	Warranty
	5 Years Standard replacement warranty;
And support 20 Years extension warranty
	
	
	
	



Technical Bid Form: Mounting Structure and BOS

The bidders need to fill this specification forms and provide documentary evidence.

	Parameters
	Min. Specifications required
	Status
	Documentary Evidence attached

	
	
	YES
	NO
	YES
	NO

	
	
	
	
	
	

	Add More rows
	
	
	
	
	




Stamp & Signature of Bidder 	





[bookmark: _bookmark137]5.9 Contract Form

[To be signed & stamped by the Bidder and reproduced on the letter head. To be attached with Technical Bid]
THIS AGREEMENT made on the 	day of 	20	between [name of Procuring Agency] of [country of Procuring Agency] (hereinafter called “the Procuring Agency”) on the one part and [name of Supplier] of [city and country of Supplier] (hereinafter called “the Supplier”) on the other part:
WHEREAS the Procuring Agency invited Bids for certain goods and ancillary services, viz., [brief description of goods and services] and has accepted a Bid by the Supplier for the supply of those goods and services in the sum of [contract price in words and figures] (hereinafter called “the Contract Price”).
NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:
1. In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.
1. The following documents shall be deemed to form and be read and construed as part of this Agreement, viz.:
1. the Bid Form and the Price Schedule submitted by the Bidder;
1. the Schedule of Requirements;
1. the Technical Specifications;
1. the General Conditions of Contract;
1. the Special Conditions of Contract; and
1. the Procuring Agency’s Notification of Award.
1. Contract agreement
1. Complete Bidding document
1. In consideration of the payments to be made by the Procuring Agency to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Procuring Agency to provide the goods and services and to rectify defects therein in conformity with all respects in accordance with the provisions of the Contract.
1. The Procuring Agency hereby covenants to pay the Supplier in consideration of the provision of the goods and services and the rectification of defects therein, the Contract Price or such other sum as may become payable under the provisions of the contract at the times and in the manner prescribed by the contract.
IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with their respective laws the day and year mentioned above.
Signed, sealed, delivered by 	the 	(for the Procuring Agency)

Signed, sealed, delivered by 	the 	(for the Supplier)




[bookmark: _bookmark138]5.10 Financial Bid Form/Price Schedule
[To be signed & stamped by the Bidder and reproduced on the letter head. To be attached with Financial Bid]

[bookmark: _bookmark139]SCHEDULE OF PRICES – SUMMARY OF BID PRICES PACKAGE I
Name of Project:  PROCUREMENT OF SOLAR PV MODULES AND INVERTERS (PACKAGE 1, 2) ON FOR BASIS AND STRUCTURE/BOS (PACKAGE 3) ON EPC BASIS, FOR PAK RED CRESCENT MEDICAL COLLEGE AND TEACHING HOSPITAL

	Item No.
	Project Description
	Total Cost of Equipment 
PKR
	Total Cost of Services PKR
	Total Cost PKR

	Package 1
	Procurement of Solar Panels (400 KW) on FOR Basis
	
	
	

	Package 2
	Procurement of On-Grid Inverters (400kW) on FOR Basis
	
	
	

	Package 3
	Mounting Structure and BOS for system on EPC basis
	
	
	



(Note: Total Price, in Pak Rupees, shall be provided in figures as well as in words, Prices should be included with all applicable Government taxes)

NOTE: Lump Sum (Summary of Bid Prices) and Item wise (BOQ of the System / Schedule of Prices (BOQ)) rate must be submitted in the Financial Proposal. The Bid not accompanied with the Item wise rates shall be rejected and declared non-responsive. Name of Project should be clearly mentioned in bold letters over the sealed envelope of the Financial Proposal.







Stamp & Signature of Bidder 	_______________________________



[bookmark: _bookmark140]FINANCIAL BILL OF QUANTITY (BOQ) / ITEM WISE BOQ (PACKAGE 1, 2 & 3)

SCHEDULE OF PRICES – ITEM WISE BID PRICES ITEM WISE COSTS BREAKDOWN FOR PACKAGE 1

Package 1: Solar PV Modules on FOR Prices/Watt

	No.
	ITEM(s)
	Description
	QTY
	Unit
Price/Watt
	Total
Price/Watt exclusive of taxes
	Total
Price/Watt inclusive of taxes

	1
	PV
Module / Plates
	Procurement PV Modules / Plates (400 KW) for PRCMDC
(Package 1)
	(400 KW)
	
	
	



(Note: Total Price, in Pak Rupees, shall be provided in figures as well as in words, Prices should be included with all applicable Government taxes)

NOTE: Lump Sum (Summary of Bid Prices) and Item wise (BOQ of the System / Schedule of Prices (BOQ)) rate must be submitted in the Financial Proposal. The Bid not accompanied with the Item wise rates shall be rejected and declared non-responsive. Name of Project should be clearly mentioned in bold letters over the sealed envelope of the Financial Proposal.










Stamp & Signature of Bidder 	______________________________





[bookmark: _bookmark141]
SCHEDULE OF PRICES – ITEM WISE BID PRICES ITEM WISE COSTS BREAKDOWN FOR PACKAGE 2

Package 2: On-Grid Solar Smart Inverter

	Item No.
	Project Description
	Price of Single Inverter (FOR basis in PKR) excluding GST
	Price of Single Inverter (FOR basis in PKR) with GST
	Price of Services (FOR basis) PKR
	Total Price (FOR basis in PKR) for all Inverters with GST

	1
	Procurement of On-Grid Inverters (400kW) on FOR Basis
	
	
	
	



(Note: Total Price, in Pak Rupees, shall be provided in figures as well as in words, Prices should be included with all applicable Government taxes)

NOTE: Lump Sum (Summary of Bid Prices) and Item wise (BOQ of the System / Schedule of Prices (BOQ)) rate must be submitted in the Financial Proposal. The Bid not accompanied with the Item wise rates shall be rejected and declared non-responsive. Name of Project should be clearly mentioned in bold letters over the sealed envelope of the Financial Proposal.






Stamp & Signature of Bidder 	__________________________________




SCHEDULE OF PRICES – ITEM WISE BID PRICES ITEM WISE COSTS BREAKDOWN FOR PACKAGE 3

Package 3: Mounting Structure and Balance of System

	Item No.
	Project Description
	Cost of structure excluding GST (PKR)
	Cost of BOS excluding GST (PKR)
	Cost of Services (EPC basis) PKR
	Total EPC Cost excluding Taxes
	Total EPC cost including Taxes

	1
	Mounting Structure and BOS for system on EPC basis (400kW)
	
	
	
	
	



(Note: Total Price, in Pak Rupees, shall be provided in figures as well as in words, Prices should be included with all applicable Government taxes)

NOTE: Lump Sum (Summary of Bid Prices) and Item wise (BOQ of the System / Schedule of Prices (BOQ)) rate must be submitted in the Financial Proposal. The Bid not accompanied with the Item wise rates shall be rejected and declared non-responsive. Name of Project should be clearly mentioned in bold letters over the sealed envelope of the Financial Proposal.






Stamp & Signature of Bidder 	__________________________________




[bookmark: _bookmark142][bookmark: _bookmark143]5.11 Bid Security Form

[To be signed & stamped by the Bidder and reproduced on the letter head. To be attached with Financial Bid]

Whereas [name of the Bidder] (hereinafter called “the Bidder”) has submitted its Bid dated [date of submission of Bid] for the supply of [name and/or description of the goods] (hereinafter called “the Bid”).

KNOW ALL PEOPLE by these presents that WE [name of bank] of [name of country], having our registered office at [address of bank] (hereinafter called “the Bank”), are bound unto [name of Procuring Agency] (hereinafter called “the Procuring Agency”) in the sum of for which payment well and truly to be made to the said Procuring Agency, the Bank binds itself, its successors, and assigns by these presents. Sealed with the Common Seal of the said Bank this day of -----------------------------------------------2026.

THE CONDITIONS of this obligation are:

1. If the Bidder withdraws its Bid during the period of Bid validity specified by the Bidder on the Bid Form; or

1. If the Bidder, having been notified of the acceptance of its Bid by the Procuring Agency during the period of Bid validity:
1. fails or refuses to execute the Contract Form, if required; or
1. fails or refuses to furnish the Performance Guarantee, in accordance with the Instructions to Bidders;

we undertake to pay to the Procuring Agency up to the above amount upon receipt of its first written demand, without the Procuring Agency having to substantiate its demand, provided that in its demand the Procuring Agency will note that the amount claimed by it is due to it, owing to the occurrence of one or both of the two conditions, specifying the occurred condition or conditions.

This guarantee will remain in force up to and including thirty (30) days after the period of Bid validity, and any demand in respect thereof should reach the Bank not later than the above date.






[Signature of the bank]


[bookmark: _bookmark144]

Section VI- Check List
[To be signed and stamped and presented on Bidder’s letter head pad]

The provision of this checklist is essential prerequisite along with submission of tenders (with technical proposal).
	Sr.
#
	Detail
	Responsive
	Non-responsive

	1
	2% Bid Security of estimated cost of articles / items given by the department.
Original Bid security to be reached at Client’s office before submission deadline and scanned copy uploaded on portal online.
	
	

	2
	All documents to establish Eligibility of the bidder as per the section III BDS. This shall include all registrations and affidavits as are detailed in relevant section. Failure to fulfill the eligibility criteria shall result in disqualification. 
	
	

	3
	All Schedules duly filled as per section IV
	
	

	4
	All Technical bid forms duly filled as per section V
	
	

	5
	Similar nature having similar cost or above have been performed / executed in public organization during last 02 years.
	
	

	6
	1. Work order / supply order / purchase order of previous relevant experience.
1. Company profile. Staff list along with location and address [where applicable].
1. Income Tax Returns/Audited Financial Statement, National tax number Certificate, General Sale Tax Number Certificate (last 03 year).
Bidders profile Form (as per form of Bidding documents) on letter head of the firm, duly signed and stamped.
	
	

	7
	Technical Bid Form (as per form of Bidding documents)
on letter head of the firm duly signed and stamped.
	
	

	8
	Financial Bid Form (as per form of Bidding documents)
on letter head of the firm, duly signed and stamped.
	
	

	9
	Bid Security Form (as per form of Bidding documents)
on letter head of the firm, duly signed and stamped.
	
	

	10
	Performance Guarantee Form (as per form of Bidding
documents) on letter head of the firm, duly signed and stamped.
	
	

	11
	General Information Form (as per form of Bidding documents) on letter head of the firm duly signed and stamped.
	
	

	12
	Affidavit (as per form) on non-judicial Stamp Paper of Rs. 100/- The firm is not currently blacklisted by the Procuring Agency. The documents/photocopies provided with Bid are authentic. In case of any fake/bogus document look at any stage. They shall be black listed as per Rules /Laws.
	
	





Stamp & Signature of Bidder 	
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